|  | NIP 525-000-88-96 REGON 000326345 | INSTYTUT NAUK GEOLOGICZNYCH POLSKIEJ AKADEMII NAUK INSTITUTE OF GEOLOGICAL SCIENCES POLISH ACADEMY OF SCIENCES |
| --- | --- | --- |
| 00-818 Warszawa, ul. Twarda 51/55 | tel. (+48 22) 697-87-00; fax (+48 22) 620-62-23; e-mail: ingpan@twarda.pan.pl; http://www.ing.pan.pl |

Warszawa, dnia 17.05.2021 r.

ZAPYTANIE OFERTOWE

Instytut Nauk Geologicznych Polskiej Akademii Nauk z siedzibą w Warszawie zwraca się 
z prośbą o złożenie oferty cenowej zgodnie z przedstawionymi wymogami:

- Przedmiot zamówienia:

Zakup armatury próżniowej (krzyży) ISO-CF

- Termin realizacji zamówienia: do 31 lipca 2021 roku.

- Kryteria oceny ofert: cena 100 %

- Szczegółowy opis przedmiotu zamówienia:

Przedmiotem zamówienia jest zakup armatury próżniowej (krzyży) ISO-CF z 4, 5 i 6 wyjściami, zgodnie z poniższą specyfikacją i rysunkiem:

- Materiał: stal nierdzewna 304L;

- Wszystkie wyjścia z krzyży powinny być zakończone flanszami DN16CF (1.33”OD);

- Wymiar a = 60 mm;

- Ilości:

- krzyż standardowy z 4 wyjściami – 2 sztuki;

- krzyż standardowy z 5 wyjściami – 2 sztuki;

- krzyż standardowy z 6 wyjściami – 2 sztuki;

Miejsce dostawy: Ośrodek Badawczy ING PAN w Krakowie, ul. Senacka 1

- Osoba uprawniona do kontaktu: Zuzanna Ciesielska, tel. 693 197 888, ndciesie@cyf-kr.edu.pl

- Termin złożenia oferty: 24.05.2021 r.

- Sposób złożenia oferty: elektronicznie na adres poczty: ndciesie@cyf-kr.edu.pl

- Oferta powinna zawierać min. opis produktu pozwalający zweryfikować zgodność z wymogami Zamawiającego oraz wartości netto i brutto oferowanej ceny.

Niniejsze zapytanie ofertowe nie stanowi zobowiązania Instytutu do zawarcia umowy. Wybór oferty zostanie dokonany zgodnie z przedstawionymi kryteriami oceny ofert.

|  | NIP 525-000-88-96 REGON 000326345 | INSTYTUT NAUK GEOLOGICZNYCH POLSKIEJ AKADEMII NAUK INSTITUTE OF GEOLOGICAL SCIENCES POLISH ACADEMY OF SCIENCES |
| --- | --- | --- |
| 00-818 Warszawa, ul. Twarda 51/55 | tel. (+48 22) 697-87-00; fax (+48 22) 620-62-23; e-mail: ingpan@twarda.pan.pl; http://www.ing.pan.pl |

Warsaw,  2021.05.17

INQUIRY

Institute of Geological Sciences of Polish Academy of Sciences, Warsaw - Cracow Research Centre kindly invites to submit a price offer in accordance with the following requirements:

1. Description of the object of contracting

Purchase of ISO-CF vacuum components (crosses)

2. Extension of contract: until July 31, 2021

3. Award criteria: price 100%

4. Requirements:

The subject of contracting is the purchase of 4, 5, 6-ways ISO-CF vacuum crosses, with the following specification and drawing:

- Material: stainless steel 304L;

- Flange size for all ways: DN16CF (1.33”OD);

- Dim a = 60 mm;

- Quantity:

- 4-ways standard cross – 2 pcs;

- 5-ways standard cross – 2 pcs;

- 6-ways standard cross – 2 pcs;

Supply to: ING PAN Kraków Research Centre, 31-002 Kraków, Poland

5. The person authorized to communicate with Contractors: Zuzanna Ciesielska, tel. 693 197 888, ndciesie@cyf-kr.edu.pl

6. The deadline for submitting the offer: April 24, 2021

7. An offer should be submitted electronically at the e-mail address:  ndciesie@cyf-kr.edu.pl

8. An offer at least should contain product specification that can be verified with given requirements and net and gross values of the offered price

This inquiry does not oblige the Institute to conclude the contract. Selection of the offer will be made in accordance with the evaluation criteria specified above.